## Specifications
Model | parameter's name | type | value | default
General parameters
| Name (opt) | string |  | model
| Start of simulation | datetime | 2025-01-01
| End of simulation | datetime | 2030-01-01
| Scenarios (opt) | integer | 1 | 1
Operation
| Name (opt) | string |  | operation
| Resolution | duration | 1h | 1h
| Start | datetime | 2025-01-01
| End | datetime | 2030-01-01
| Representative days (opt) | bool | TRUE | FALSE
Economic
| Investment | bool | TRUE | FALSE
| Single year | bool | FALSE | FALSE
| Occurrence date | datetime | 2025-01-01
| Multi year | bool | FALSE | FALSE
| 1st occurrence date | datetime | 2025-01-01
| Last occurrence date | datetime | 2030-01-01
| Resolution | duration | 1Y
| Discount factor | float | 0.05 | 0
| Reference year discount factor | datetime | 2020-01-01 | 2025-01-01
OK

## Units
Production Units - Number |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Name | unit [] | technical_name | 1: Gas Turbine; 2: Wind Mill; 3: CHP Wood; 4: PV Rooftop; 5: PV Farm; 6: Electrolysis; 7: Heat pump; 8: Gas boiler
Input commodity 1 |  |  | 1: Gas; 3: Wood; 6: Electricity; 7: Electricity; 8: Gas
Input commodity 2 |  |  | 6: Heat
Input commodity 3
Output commodity 1 |  |  | 1: Electricity; 2: Electricity; 3: Electricity; 4: Electricity; 5: Electricity; 6: Hydrogen; 7: Heat; 8: Heat
Output commodity 2 |  |  | 3: Heat
Output commodity 3
CO2 production | [kg CO2 / kWh] |  | 1: 0.198; 2: 0; 3: 0.01; 4: 0; 5: 0; 6: 0; 7: 0; 8: 0.198
Fixed operation/maintenance costs | CHF/kW/h | fom_cost
Variable operating costs | CHF/kWh | vom_cost
Investments |  |  | 1: FALSE; 2: FALSE; 3: FALSE; 4: FALSE; 5: FALSE; 6: FALSE; 7: FALSE; 8: FALSE
Investment Cost | CHF | unit_investment_cost
Economic lifetime | duration | unit_investment_econ_lifetime
Technical lifetime | duration | unit_investment_lifetime_sense
Investment type |  | unit_investment_variable_type | 1: Integer; 2: Integer; 3: Integer; 4: Continuous; 5: Continuous; 6: Continuous; 7: Integer; 8: Integer
Discount rate (technology specific) | [] | unit_discount_rate_technology_specific
Decommissionning cost | CHF | unit_decommissioning_cost
Decommissionning time | duration | unit_decommissioning_time
Lead time | duration | unit_lead_time
Efficiencies (commodity to commodity) |  |  | 1: OK; 2: OK; 3: OK; 4: OK; 5: OK; 6: Fill efficiency; 7: OK; 8: OK
Efficiency 1 → 1 | % | fix_out_in_ratio | 1: 60%; 3: 35%; 7: 300%; 8: 98%
Efficiency 1 → 2 | % | fix_out_in_ratio | 3: 40%
Efficiency 1 → 3 | % | fix_out_in_ratio
Efficiency 2 → 1 | % | fix_out_in_ratio
Efficiency 2 → 2 | % | fix_out_in_ratio
Efficiency 2 → 3 | % | fix_out_in_ratio
Efficiency 3 → 1 | % | fix_out_in_ratio
Efficiency 3 → 2 | % | fix_out_in_ratio
Efficiency 3 → 3 | % | fix_out_in_ratio
Capacities
Capacity INPUT 1 | kW | unit_capactity | 6: 25; 7: 12; 8: 18
Capacity INPUT 2 | kW | unit_capactity
Capacity INPUT 3 | kW | unit_capactity
Capacity OUTPUT 1 | kW | unit_capactity | 1: 200; 2: 2500; 3: 150; 4: 1; 5: 10
Capacity OUTPUT 2 | kW | unit_capactity
Capacity OUTPUT 3 | kW | unit_capactity
Advanced technical
Start-up cost | CHF/startup | start_up_cost
Shutdown cost | CHF/shutdown | shut_down_cost
Minimum up time | duration | min_up_time | 1: 5h; 3: 10h; 6: 24h; 7: 2h
Minimum down time | duration | min_down_time
Ramping limit (to commodity)
Ramp up limit OUT1 | % / time unit | ramp_up_limit | 1: 25%; 3: 30%
Ramp down limit OUT1 | % / time unit | ramp_down_limit | 1: 25%; 3: 30%
Ramp up limit OUT2 | % / time unit | ramp_up_limit | 3: 50%
Ramp down limit OUT2 | % / time unit | ramp_down_limit | 3: 50%
Ramp up limit OUT3 | % / time unit | ramp_up_limit
Ramp down limit OUT3 | % / time unit | ramp_down_limit

## Vectors_datalist
| 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  | 13 |  | 14 |  | 15 |  | 16 |  | 17 |  | 18 |  | 19 |  | 20
Type | Import price |  | Export price |  | Import price |  | Import price |  | Local demand |  | Local demand |  | Local demand |  | Availability Factor |  | Availability Factor |  | Availability Factor
Commodity | Electricity |  | Electricity |  | Gas |  | Wood |  | Electricity |  | Hydrogen |  | Heat
Unit | [14 empty] | PV Rooftop |  | Wind Mill |  | PV Farm
Repeat | TRUE |  | TRUE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE
Ignore year | TRUE |  | TRUE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE |  | FALSE
| Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value | Time | Value
| 2025-01-01 | 0.098852 | 2025-01-01 | 0.088852
| 2025-01-01 01:00 | 0.10054 | 2025-01-01 01:00 | 0.090539
| 2025-01-01 02:00 | 0.068304 | 2025-01-01 02:00 | 0.058304
| 2025-01-01 03:00 | 0.12043 | 2025-01-01 03:00 | 0.11043
| 2025-01-01 04:00 | 0.11605 | 2025-01-01 04:00 | 0.10605
| 2025-01-01 05:00 | 0.13299 | 2025-01-01 05:00 | 0.12299
| 2025-01-01 06:00 | 0.11707 | 2025-01-01 06:00 | 0.10707
| 2025-01-01 07:00 | 0.10929 | 2025-01-01 07:00 | 0.099286
| 2025-01-01 08:00 | 0.10413 | 2025-01-01 08:00 | 0.094125
| 2025-01-01 09:00 | 0.11116 | 2025-01-01 09:00 | 0.10116
| 2025-01-01 10:00 | 0.090006 | 2025-01-01 10:00 | 0.080006
| 2025-01-01 11:00 | 0.12868 | 2025-01-01 11:00 | 0.11868
| 2025-01-01 12:00 | 0.11049 | 2025-01-01 12:00 | 0.10049
| 2025-01-01 13:00 | 0.084015 | 2025-01-01 13:00 | 0.074015
| 2025-01-01 14:00 | 0.10734 | 2025-01-01 14:00 | 0.097342
| 2025-01-01 15:00 | 0.076132 | 2025-01-01 15:00 | 0.066132
| 2025-01-01 16:00 | 0.12069 | 2025-01-01 16:00 | 0.11069
| 2025-01-01 17:00 | 0.13007 | 2025-01-01 17:00 | 0.12007
| 2025-01-01 18:00 | 0.12517 | 2025-01-01 18:00 | 0.11517
| 2025-01-01 19:00 | 0.095845 | 2025-01-01 19:00 | 0.085845
| 2025-01-01 20:00 | 0.11236 | 2025-01-01 20:00 | 0.10236
| 2025-01-01 21:00 | 0.071951 | 2025-01-01 21:00 | 0.061951
| 2025-01-01 22:00 | 0.15271 | 2025-01-01 22:00 | 0.14271
| 2025-01-01 23:00 | 0.13503 | 2025-01-01 23:00 | 0.12503
| 2025-01-02 | 0.063147 | 2025-01-02 | 0.053147
| 2025-01-02 01:00 | 0.13661 | 2025-01-02 01:00 | 0.12661
| 2025-01-02 02:00 | 0.13368 | 2025-01-02 02:00 | 0.12368
| 2025-01-02 03:00 | 0.15504 | 2025-01-02 03:00 | 0.14504
| 2025-01-02 04:00 | 0.064612 | 2025-01-02 04:00 | 0.054612
| 2025-01-02 05:00 | 0.10879 | 2025-01-02 05:00 | 0.098794
| 2025-01-02 06:00 | 0.13323 | 2025-01-02 06:00 | 0.12323
| 2025-01-02 07:00 | 0.15104 | 2025-01-02 07:00 | 0.14104
| 2025-01-02 08:00 | 0.067546 | 2025-01-02 08:00 | 0.057546
| 2025-01-02 09:00 | 0.10307 | 2025-01-02 09:00 | 0.093066
| 2025-01-02 10:00 | 0.15999 | 2025-01-02 10:00 | 0.14999
| 2025-01-02 11:00 | 0.13099 | 2025-01-02 11:00 | 0.12099
| 2025-01-02 12:00 | 0.10429 | 2025-01-02 12:00 | 0.094289
| 2025-01-02 13:00 | 0.069439 | 2025-01-02 13:00 | 0.059439
| 2025-01-02 14:00 | 0.10022 | 2025-01-02 14:00 | 0.09022
| 2025-01-02 15:00 | 0.075835 | 2025-01-02 15:00 | 0.065835
| 2025-01-02 16:00 | 0.06855 | 2025-01-02 16:00 | 0.05855
| 2025-01-02 17:00 | 0.086952 | 2025-01-02 17:00 | 0.076952
| 2025-01-02 18:00 | 0.10659 | 2025-01-02 18:00 | 0.096592
| 2025-01-02 19:00 | 0.1459 | 2025-01-02 19:00 | 0.1359
| 2025-01-02 20:00 | 0.1396 | 2025-01-02 20:00 | 0.1296
| 2025-01-02 21:00 | 0.091804 | 2025-01-02 21:00 | 0.081804
| 2025-01-02 22:00 | 0.067848 | 2025-01-02 22:00 | 0.057848
| 2025-01-02 23:00 | 0.14437 | 2025-01-02 23:00 | 0.13437
| 2025-01-03 | 0.15599 | 2025-01-03 | 0.14599
| 2025-01-03 01:00 | 0.13841 | 2025-01-03 01:00 | 0.12841
| 2025-01-03 02:00 | 0.07667 | 2025-01-03 02:00 | 0.06667
| 2025-01-03 03:00 | 0.14485 | 2025-01-03 03:00 | 0.13485
| 2025-01-03 04:00 | 0.15654 | 2025-01-03 04:00 | 0.14654
| 2025-01-03 05:00 | 0.073273 | 2025-01-03 05:00 | 0.063273
| 2025-01-03 06:00 | 0.070034 | 2025-01-03 06:00 | 0.060034
| 2025-01-03 07:00 | 0.1595 | 2025-01-03 07:00 | 0.1495
| 2025-01-03 08:00 | 0.15396 | 2025-01-03 08:00 | 0.14396
| 2025-01-03 09:00 | 0.15327 | 2025-01-03 09:00 | 0.14327
| 2025-01-03 10:00 | 0.091541 | 2025-01-03 10:00 | 0.081541
| 2025-01-03 11:00 | 0.0974 | 2025-01-03 11:00 | 0.0874
| 2025-01-03 12:00 | 0.07216 | 2025-01-03 12:00 | 0.06216
| 2025-01-03 13:00 | 0.11714 | 2025-01-03 13:00 | 0.10714
| 2025-01-03 14:00 | 0.11398 | 2025-01-03 14:00 | 0.10398
| 2025-01-03 15:00 | 0.14805 | 2025-01-03 15:00 | 0.13805
| 2025-01-03 16:00 | 0.091599 | 2025-01-03 16:00 | 0.081599
| 2025-01-03 17:00 | 0.10236 | 2025-01-03 17:00 | 0.092363
| 2025-01-03 18:00 | 0.11977 | 2025-01-03 18:00 | 0.10977
| 2025-01-03 19:00 | 0.091017 | 2025-01-03 19:00 | 0.081017
| 2025-01-03 20:00 | 0.15994 | 2025-01-03 20:00 | 0.14994
| 2025-01-03 21:00 | 0.08352 | 2025-01-03 21:00 | 0.07352
| 2025-01-03 22:00 | 0.12103 | 2025-01-03 22:00 | 0.11103
| 2025-01-03 23:00 | 0.089287 | 2025-01-03 23:00 | 0.079287
| 2025-01-04 | 0.13801 | 2025-01-04 | 0.12801
| 2025-01-04 01:00 | 0.096028 | 2025-01-04 01:00 | 0.086028
| 2025-01-04 02:00 | 0.13918 | 2025-01-04 02:00 | 0.12918
| 2025-01-04 03:00 | 0.10684 | 2025-01-04 03:00 | 0.096842
| 2025-01-04 04:00 | 0.081392 | 2025-01-04 04:00 | 0.071392
| 2025-01-04 05:00 | 0.15857 | 2025-01-04 05:00 | 0.14857
| 2025-01-04 06:00 | 0.14897 | 2025-01-04 06:00 | 0.13897
| 2025-01-04 07:00 | 0.14766 | 2025-01-04 07:00 | 0.13766
| 2025-01-04 08:00 | 0.15659 | 2025-01-04 08:00 | 0.14659
| 2025-01-04 09:00 | 0.12923 | 2025-01-04 09:00 | 0.11923
Formulas:
Import price = [Import price, row above]+TIME(1,0,0)
Export price = [Import price]

## Commodities
Commodity Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Name | Electricity | Heat | Gas | Hydrogen | Wood
Exports | TRUE | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Exporting district
Imports | TRUE | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Local consumption | TRUE | TRUE | TRUE | TRUE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Local production | TRUE | TRUE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE

## Building types
Building Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Name | House_1 | House_2
Type | Single Family | Multi Families
Date of construction | 1980 | 1990
Energetic class | A | A+

## Districts
| District Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Name | 1: District_1; 2: District_2; 3: District_3; 4: District_4; 5: District_5
Commodities presence
1 | Electricity | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
2 | Heat | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
3 | Gas | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
4 | Hydrogen | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
5 | Wood | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
6 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
7 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
8 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
9 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
10 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
11 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
12 |  | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Buildings presence
#REF!