## Specifications
Model | parameter's name | type | code | value
General
| Name (opt) | string | name | simple_model
| Start of simulation | date_time | model_start | 2025-01-01
| End of simulation | date_time | model_end | 2031-01-01
| Discount Rate | float | discount_rate
| Discount Year of Reference | date_time | discount_year
| Ecomomic Representation | bool | use_economic_representation | FALSE
| Milestone Years | bool | use_milestone_years | FALSE
| Base Scenario name | string | NaM_scenario_name | Base
| Multiple Scenarios | bool | NaM_bool_multiple_scenarios | TRUE
| Additionnal Scenario names | strings | NaM_add_scenarios | Scenario1; Scenario2
Operation
| Linear operation | bool | NaM_linear_op | FALSE
| Name (opt) | string | name | operation2025
| Resolution | duration | resolution | 1h
| Multi Specific year operation | bool | NaM_bool_specific_year | TRUE
| Name (opt) | string | name | operations
| Resolution | duration | resolution | 1h
| Specific year to simulate | ints | NaM_specific_year | 2025; 2030; 2034
| Representative days (opt) | bool | NaM_Representative_days | FALSE
Economic - Investments
| Single time | bool | NaM_invstmt_sgl_bool | TRUE
| Name (opt) | string | name | simple_investment
| Occurrence date | date_time | block_start | 2025-01-01
| Multi year | bool | NaM_invstmt_multi_bool | FALSE
| Name (opt) | string | name
| 1st occurrence date | date_time | block_start | 2025-01-01
| Horizon of occurrences | duration | resolution | 5Y
CO2
| CO2 in the model | bool | NaM_CO2_bool | TRUE
| Level of integration of CO2 "Storage" Node | string | NaM_CO2_state_lvl | Building
| Maximum total CO2 emissions | kg | node_state_cap
| Maximal emissions per unit of time | kg / time unit

## Units
Production Units - Number |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Name | string | name | 1: Solar Panel; 2: Combined Heat Power Gas; 3: Heat Pump; 4: Gas Boiler; 5: Electricity Export; 6: Electricity Import; 7: Gas turbine; 8: Gas Import; 9: Oil Heater
Input commodity 1 | [] | NaM_unit__from_node1 | 2: Gas; 3: Electricity; 4: Gas; 5: Electricity; 7: Gas; 9: Heating Oil
Input commodity 2 | [] | NaM_unit__from_node2
Input commodity 3 | [] | NaM_unit__from_node3
Output commodity 1 | [] | NaM_unit__to_node1 | 1: Electricity; 2: Heat; 3: Heat; 4: Heat; 6: Electricity; 7: Electricity; 8: Gas; 9: Heat
Output commodity 2 | [] | NaM_unit__to_node2 | 2: Electricity
Output commodity 3 | [] | NaM_unit__to_node3
District / Building scale | [] | NaM_scale | 1: Building level; 2: District level; 3: Building level; 4: Building level; 5: District level; 6: District level; 7: District level; 8: District level; 9: Building level
CO2 production | [kg CO2 / kWh] | NaM_emission | 1: 0; 2: 0.08; 3: 0; 4: 0.198; 5: -0.099; 6: 0.099; 7: 0.08; 9: 2.96
Fixed operation/maintenance costs | CHF/kW/h | fom_cost
Investments | bool_investment | bar: 1 to 13
Investment Cost | CHF | unit_investment_cost | 1: 15000; 2: 600000; 3: 4500; 4: 2800; 7: 25000
Economic lifetime | duration | unit_investment_econ_lifetime | 1: 20Y; 2: 15Y; 3: 25Y; 4: 25Y; 7: 15Y
Technical lifetime | duration | unit_investment_tech_lifetime | 1: 20Y; 2: 15Y; 3: 25Y; 4: 25Y; 7: 15Y
Investment type | [] | NaM_unit_investment_variable_type | 1: Continuous; 2: Integer; 3: Continuous; 4: Continuous; 7: Integer
Investment type | [] | unit_investment_variable_type | 1: unit_investment_variable_type_continuous; 2: unit_investment_variable_type_integer; 3: unit_investment_variable_type_continuous; 4: unit_investment_variable_type_continuous
Discount rate (technology specific) | rate | unit_discount_rate_technology_specific
Decommissionning cost | CHF | unit_decommissioning_cost
Decommissionning time | duration | unit_decommissioning_time
Lead time | duration | unit_lead_time
Efficiencies (input commodity to output commodity) | bar: 1 to 13
Efficiency 1 → 1 | % | fix_ratio_out_in_unit_flow(from_node1to_node1) | 2: 50%; 3: 450%; 4: 98%; 7: 40%; 9: 90%
Efficiency 1 → 2 | % | fix_ratio_out_in_unit_flow(from_node1to_node2) | 2: 55%
Efficiency 1 → 3 | % | fix_ratio_out_in_unit_flow(from_node1to_node3)
Efficiency 2 → 1 | % | fix_ratio_out_in_unit_flow(from_node2to_node1)
Efficiency 2 → 2 | % | fix_ratio_out_in_unit_flow(from_node2to_node2)
Efficiency 2 → 3 | % | fix_ratio_out_in_unit_flow(from_node2to_node3)
Efficiency 3 → 1 | % | fix_ratio_out_in_unit_flow(from_node3to_node1)
Efficiency 3 → 2 | % | fix_ratio_out_in_unit_flow(from_node3to_node2)
Efficiency 3 → 3 | % | fix_ratio_out_in_unit_flow(from_node3to_node3)
Capacities | bar: 1 to 13
Capacity INPUT 1 | kW | unit_capacity(unit__from_node1) | 5: 20000
Capacity INPUT 2 | kW | unit_capacity(unit__from_node2)
Capacity INPUT 3 | kW | unit_capacity(unit__from_node3)
Capacity OUTPUT 1 | kW | unit_capacity(unit__to_node1) | 1: 20; 2: 50; 3: 15; 4: 15; 6: 20000; 7: 100; 8: 1000; 9: 15
Capacity OUTPUT 2 | kW | unit_capacity(unit__to_node2) | 2: 60
Capacity OUTPUT 3 | kW | unit_capacity(unit__to_node3)
Advanced technical | bar: 1 to 13
Start-up cost | CHF/startup | start_up_cost
Shutdown cost | CHF/shutdown | shut_down_cost
Minimum up time | duration | min_up_time
Minimum down time | duration | min_down_time
Ramping limit (to commodity) | bar: 1 to 13
Ramp up limit OUT1 | % / time unit | ramp_up_limit(unit__to_node1)
Ramp down limit OUT1 | % / time unit | ramp_down_limit(unit__to_node1)
Ramp up limit OUT2 | % / time unit | ramp_up_limit(unit__to_node2)
Ramp down limit OUT2 | % / time unit | ramp_down_limit(unit__to_node2)
Ramp up limit OUT3 | % / time unit | ramp_up_limit(unit__to_node3)
Ramp down limit OUT3 | % / time unit | ramp_down_limit(unit__to_node3)
Fixed fuel cost INPUT 1 | CHF/kWh | vom_cost(unit__from_node1) | 9: 0.12
Fixed fuel cost INPUT 2 | CHF/kWh | vom_cost(unit__from_node2)
Fixed fuel cost INPUT 3 | CHF/kWh | vom_cost(unit__from_node3)
Fixed fuel cost OUTPUT 1 | CHF/kWh | vom_cost(unit__to_node1)
Fixed fuel cost OUTPUT 2 | CHF/kWh | vom_cost(unit__to_node2)
Fixed fuel cost OUTPUT 3 | CHF/kWh | vom_cost(unit__to_node3)
Maximal cumulated unit flow from INPUT 1 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node1)
Maximal cumulated unit flow from INPUT 2 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node2)
Maximal cumulated unit flow from INPUT 3 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node3)
Maximal cumulated unit flow to OUTPUT 1 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node1)
Maximal cumulated unit flow to OUTPUT 2 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node2)
Maximal cumulated unit flow to OUTPUT 3 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node3)

## Sheet1
unit_from/unit_to | parameter | default value | description
unit__from_node | max_total_cumulated_unit_flow_from_node | null | Bound on the maximum cumulated flows of a unit group from a node group e.g max consumption of certain commodity.
unit__from_node | min_total_cumulated_unit_flow_from_node | null | Bound on the minimum cumulated flows of a unit group from a node group.
unit__from_node | min_unit_flow | 0 | Set lower bound of the `unit_flow` variable.
unit__from_node | minimum_operating_point | null | Minimum level for the `unit_flow` relative to the `units_on` online capacity.
unit__from_node | operating_points | null | Operating points for piecewise-linear `unit` efficiency approximations.
unit__from_node | ordered_unit_flow_op | FALSE | Defines whether the segments of this unit flow are ordered as per the rank of their operating points.
unit__from_node | reserve_procurement_cost | null | Procurement cost for reserves
unit__from_node | shut_down_limit | null | Maximum ramp-down during shutdowns
unit__from_node | start_up_limit | null | Maximum ramp-up during startups
unit__to_node | max_total_cumulated_unit_flow_to_node | null | Bound on the maximum cumulated flows of a unit group to a node group, e.g. total GHG emissions.
unit__to_node | min_total_cumulated_unit_flow_to_node | null | Bound on the minimum cumulated flows of a unit group to a node group, e.g. total renewable production.
unit__to_node | min_unit_flow | 0 | Set lower bound of the `unit_flow` variable.
unit__to_node | minimum_operating_point | null | Minimum level for the `unit_flow` relative to the `units_on` online capacity.
unit__to_node | operating_points | null | Decomposes the flow variable into a number of separate operating segment variables. Used to in conjunction with `unit_incremental_heat_rate` and/or `user_constraint`s
unit__to_node | ordered_unit_flow_op | FALSE | Defines whether the segments of this unit flow are ordered as per the rank of their operating points.
unit__to_node | reserve_procurement_cost | null | Procurement cost for reserves
unit__to_node | shut_down_limit | null | Maximum ramp-down during shutdowns
unit__to_node | start_up_limit | null | Maximum ramp-up during startups
Variable operating costs of a `unit_flow` variable. Ex EUR/MWh. |  | vom_cost
Variable fuel costs than can be attributed to a `unit_flow`. E.g. EUR/MWh |  | fuel_cost

## Storages
Production Units - Number |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
Name | string | name | 1: Solid State; 2: Li-ion Battery; 3: Heat storage
Commodity | [] | NaM_stored_commodity | 1: Electricity; 2: Electricity; 3: Heat
District / Building scale | [] | NaM_scale | 1: District level; 2: Building level; 3: Building level
Capacity | kWh | node_state_cap(node) | 1: 15000; 2: 40; 3: 20
Efficiency to storage | % | fix_ratio_out_in_unit_flow(unit__node__storage) | 1: 95%; 2: 85%; 3: 99%
Efficiency from storage | % | fix_ratio_out_in_unit_flow(unit__storage__node) | 1: 95%; 2: 90%; 3: 98%
Self discharge | % / time unit | frac_state_loss(node) | 1: 0.05%; 2: 1%; 3: 3%
Initial storage level | kWh | initial_node_state(node) | 1: 0; 2: 0; 3: 0
Fixed operation/maintenance costs | CHF/kW/h | fom_cost(unit) | 1: 0.0011416
Rating power | bar: 1 to 3
Capacity INPUT | kW | unit_capacity(unit__from_commodity) | 1: 300; 2: 2
Capacity OUTPUT | kW | unit_capacity(unit__to_commodity) | 1: 200; 2: 2
Investments | bar: 1 to 3
Investment Cost | CHF | _investment_cost(unit_or_node) | 1: 600000; 2: 600; 3: 250
Economic lifetime | duration | _investment_econ_lifetime(unit_and_node) | 1: 20Y; 2: 15Y; 3: 15Y
Technical lifetime | duration | _investment_tech_lifetime(unit_and_node) | 1: 20Y; 2: 15Y; 3: 15Y
Investment type | [] | NaM_investment_variable_type(unit_and_node) | 1: Continuous; 2: Continuous; 3: Continuous
Investment type | string_special | _investment_variable_type(unit_and_node) | 1: _investment_variable_type_continuous; 2: _investment_variable_type_continuous; 3: _investment_variable_type_continuous
Advanced (opt) | bar: 1 to 3
Start-up cost | CHF/startup | start_up_cost(unit)
Shutdown cost | CHF/shutdown | shut_down_cost(unit)
Minimum up time | duration | min_up_time(unit)
Minimum down time | duration | min_down_time(unit)
Ramp up limit (INPUT) | % / time unit | ramp_up_limit(unit__from_commodity)
Ramp down limit (INPUT) | % / time unit | ramp_down_limit(unit__from_commodity)
Ramp up limit (OUTPUT) | % / time unit | ramp_up_limit(unit__to_commodity)
Ramp down limit (OUTPUT) | % / time unit | ramp_down_limit(unit__to_commodity)
Discount rate (technology specific) | rate | _discount_rate_technology_specific(unit_and_node) | 1: 0.02
Decommissionning cost | CHF | _decommissioning_cost(unit_or_node)
Decommissionning time | duration | _decommissioning_time(unit_and_node)
Lead time | duration | _lead_time(unit_and_node)

## Commodities
Commodity |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Name |  | code | 1: Electricity; 2: Gas; 3: Heat; 4: Heating Oil
Allow commodity overflow (lost cost) | bool | NaM_overflow_lost | 1: FALSE; 2: FALSE; 3: TRUE; 4: FALSE
Supply node (with an infinite capacity of import) | bool | NaM_balance_type | 1: FALSE; 2: FALSE; 3: FALSE; 4: TRUE
Connection | 1
Type | string | name | 1: LV_400V; 2: Gas Network; 3: DNHeating
Number of units | float | number_of_connections | 1: 1; 2: 1; 3: 0
Candidate units | float | candidate_connections | 1: 0; 2: 0; 3: 1
From node
District level | string | NaM_district_lvl(from_node) | 1: Kreis1; 2: Kreis1; 3: Kreis1
Building level | string | NaM_building_lvl(from_node)
Capacity / node | kW | connection_capacity(from_node) | 1: 10000; 2: 1000; 3: 10000
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level | string | NaM_district_lvl(to_node) | 1: Kreis1; 2: Kreis1; 3: Kreis1
Building level | string | NaM_building_lvl(to_node) | 1: All; 2: SFH; 3: All
Capacity / node | kW | connection_capacity(to_node) | 1: 10000; 2: 1000; 3: 10000
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 2
Type |  | name | 1: LV_400V
Number of units |  | number_of_connections | bar: 1
Candidate units |  | candidate_connections | 1: 0
From node
District level |  | NaM_district_lvl(from_node) | 1: Kreis2
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node) | 1: 10000
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node) | 1: Kreis2
Building level |  | NaM_building_lvl(to_node) | 1: All
Capacity | kW | connection_capacity(to_node) | 1: 10000
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 3
Type |  | name | 1: MV_20kV
Number of units |  | number_of_connections | bar: 1
Candidate units |  | candidate_connections | 1: 0
From node
District level |  | NaM_district_lvl(from_node) | 1: Kreis1
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node) | 1: 20000
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node) | 1: Kreis2
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node) | 1: 20000
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 4
Type |  | name
Number of units |  | number_of_connections
Candidate units |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 5
Type |  | name
Number of units |  | number_of_connections
Candidate units |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 6
Type |  | name
Number of units |  | number_of_connections
Candidate units |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)

## Building types
Building Number | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
name | SFH | MFH
type | Single Family | Multi Families
date of construction | 1961-1985 | >2010
Retrofits
Name | Smart lightnight
Commodity | Electricity
Decrease in consumption [%] | 10%
Price for 1 building [CHF] | 600
Name | New insulation
Commodity | Heat
Decrease in consumption [%] | 40%
Price for 1 building [CHF] | 6000
Name
Commodity
Decrease in consumption [%]
Price for 1 building [CHF]
Note on C12: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: All the investment should be independent (the model would sometimes invest into both investments)

## Districts
| District Number | 1 | [25 empty] | 2 | [25 empty] | 3
| Name | Kreis1
|  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12
| Building | Global at District Level |  | SFH |  | MFH | [21 empty] | Global at District Level |  | SFH |  | MFH | [21 empty] | Global at District Level |  | SFH |  | MFH
| Quantity |  |  | 5 |  | 2 | [23 empty] | 3 |  | 0
| Units presence (district level) | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1
2 | Combined Heat Power Gas | 0 | 1 | [24 empty] | 0 | 0
3
4
5 | Electricity Export | 1 | 0 | [24 empty] | 0 | 0
6 | Electricity Import | 1 | 0 | [24 empty] | 0 | 0
7 | Gas turbine | 0 | 1 | [24 empty] | 0 | 0
8 | Gas Import | 1 | 0
9
10
11
12
13
14
15
16
17
18
19
20
| Units presence (building level) | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1 | Solar Panel |  |  | 2 | 5 | 2 | 5 | [22 empty] | 0 | 0
2
3 | Heat Pump |  |  | 1 | 5 | 0 | 2 | [22 empty] | 0 | 0
4 | Gas Boiler |  |  | 4 | 0 | 0 | 0 | [22 empty] | 0 | 0
5
6
7
8
9 | Oil Heater |  |  | 0 | 0 | 2 | 0
10
11
12
13
14
15
16
17
18
19
20
| Storages presence (district level) | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1 | Solid State | 0 | 1 | [24 empty] | 0 | 0
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
| Storages presence (building level) | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1
2 | Li-ion Battery |  |  | 2 | 2 | 0 | 2 | [22 empty] | 0 | 0 | 0 | 0
3 | Heat storage |  |  | 2 | 2 | 0 | 2 | [22 empty] | 0 | 0 | 0 | 0
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20

## Temporality (hidden)
Representative Days
| parameter's name | type | code | value
Temporal Block 1
| Name (opt) | string | name | operation_january
| Resolution | duration | resolution | 1h
| Start | datetime | block_start | 2025-01-21
| End | datetime | block_end | 2025-01-28
| Occurrence (every year, month) (opt) | duration | NaM_occ | 1Y
Temporal Block 2
| Name (opt) | string | name | operation_february
| Resolution | duration | resolution | 10m
| Start | datetime | block_start | 2025-02-22
| End | datetime | block_end | 2025-02-23
| Occurrence (every year, month) (opt) | duration | NaM_occ | 2Y
Temporal Block 3
| Name (opt) | string | name | operation2025_june
| Resolution | duration | resolution | 1h
| Start | datetime | block_start | 2025-06-01
| End | datetime | block_end | 2025-06-30
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 4
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 5
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 6
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 7
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 8
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 9
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 10
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 11
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 12
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 13
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 14
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 15
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 16
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 17
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 18
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 19
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 20
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 21
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 22
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 23
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 24
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 25
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 26
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 27
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 28
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 29
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 30
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 31
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 32
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 33
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 34
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 35
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 36
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 37
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 38
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 39
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 40
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 41
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 42
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 43
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 44
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 45
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 46
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 47
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 48
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 49
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 50
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 51
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 52
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 53
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 54
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 55
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 56
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 57
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 58
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 59
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 60
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 61
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 62
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ

## Connections
Connections |  |  | 1 | 2 | 3 | 4 | 5
Name | string | name | MV_20kV | DNHeating | HV_200kW | LV_400V | DC_400V | Gas Network
Commodity | string | NaM_indicative | Electricity | Heat | Electricity | Electricity | Electricity | Gas
Type | [] | connection_type | connection_type_lossless_bidirectional | connection_type_normal | connection_type_normal | connection_type_lossless_bidirectional | connection_type_normal | connection_type_lossless_bidirectional
Efficiency | % | fix_ratio_out_in_connection_flow(from_node_to_node) | 90% | 85% | 95% | 100% | 95%
Investments
Investment Cost | CHF | connection_investment_cost | 15000 | 5000 | 30000 | 1000 | 10000
Economic lifetime | duration | connection_investment_econ_lifetime | 50Y | 20Y | 50Y | 10Y | 10Y
Technical lifetime | duration | connection_investment_tech_lifetime | 50Y | 20Y | 50Y | 10Y | 10Y
Investment type |  |  | Continuous | Integer | Integer | Continuous | Integer
Investment type | [] | connection_investment_variable_type | connection_investment_variable_type_continuous | connection_investment_variable_type_integer | connection_investment_variable_type_integer | connection_investment_variable_type_continuous | connection_investment_variable_type_integer
Discount rate (technology specific) | [] | connection_discount_rate_technology_specific
Decommissionning cost | CHF | connection_decommissioning_cost
Decommissionning time | duration | connection_decommissioning_time
Lead time | duration | connection_lead_time

## Reports
Name | Description | code | Report_1
Indicates if a gas connection is active or not in binary form (1 = active, 0 = inactive). |  | binary_gas_connection_flow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Average gas or resource flow through a connection during periods when it is operational. |  | connection_avg_intact_throughflow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Average flow across a connection over a defined period, including all time intervals. |  | connection_avg_throughflow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts the total investment cost of a connection to a discounted annuity value based on a defined discount factor. |  | connection_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The duration of a connection's operation, adjusted for discounting over time. |  | connection_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total flow through a connection in a given time period. |  | connection_flow | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with the flow of resources through the connection, including operational costs. |  | connection_flow_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Flow through the connection during periods when it is fully intact and operational. |  | connection_intact_flow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Initial capital costs incurred for investing in the connection. |  | connection_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Fraction of the connection’s investment cost that can be recovered at the end of its lifecycle. |  | connection_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The discount factor applied to a connection's costs based on its technology and economic parameters. |  | connection_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Number or status of connections that have been removed or retired from operation. |  | connections_decommissioned | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of connections where capital investment has been made. |  | connections_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The count of connections that have been invested in and are available for use. |  | connections_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Indicates whether a specific contingency constraint is binding (active) in the optimization. |  | contingency_is_binding | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Fixed operations and maintenance costs for connections, units, or storage. |  | fixed_om_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total costs incurred for fuel usage across units or facilities. |  | fuel_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The objective value under the Model-Guided Adaptive (MGA) optimization approach. |  | mga_objective | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The minimum lower bound for the optimization problem’s objective value in the master problem. |  | mp_objective_lowerbound | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Amount of resource (e.g., electricity or gas) injected into a node within the system. |  | node_injection | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Pressure level at a specific node, relevant in gas network modeling. |  | node_pressure | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Negative slack variable at a node, representing deficits in meeting constraints. |  | node_slack_neg | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Positive slack variable at a node, representing excesses beyond constraints. |  | node_slack_pos | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational state of a node in the system (e.g., active, inactive). |  | node_state | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The voltage angle at a node in a power network. |  | node_voltage_angle | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Non-spinning reserve units that have been shut down during the analyzed period. |  | nonspin_units_shut_down | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Non-spinning reserve units that have been started up during the analyzed period. |  | nonspin_units_started_up | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Penalties applied to the optimization objective for violating specific constraints or objectives. |  | objective_penalties | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The relative gap between the current solution and the optimal solution in percentage terms. |  | relative_optimality_gap | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with curtailing renewable energy production. |  | renewable_curtailment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with resource processing or procurement. |  | res_proc_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs incurred from shutting down units or processes. |  | shut_down_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs incurred to start up units or processes. |  | start_up_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts total storage investment cost to a discounted annuity value. |  | storage_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational duration of storage, adjusted for discounting over time. |  | storage_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Capital investment costs for storage infrastructure. |  | storage_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Recoverable fraction of storage investment costs at the end of its life. |  | storage_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Discount factor applied to storage costs based on its technology. |  | storage_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Count or status of storage facilities that have been retired. |  | storages_decommissioned | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of storage facilities with completed investments. |  | storages_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Storage facilities that are both invested in and currently available for use. |  | storages_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Tax costs applied to operations or investments. |  | taxes | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Sum of all costs, including operational, investment, and penalties, in the system. |  | total_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts total unit investment cost to a discounted annuity value. |  | unit_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational duration of a unit, adjusted for discounting over time. |  | unit_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total resource flow through a unit over a given period. |  | unit_flow | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Resource flow through a unit during operational hours. |  | unit_flow_op | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Resource flow through active units during their operational periods. |  | unit_flow_op_active | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Capital investment costs incurred for units. |  | unit_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Recoverable fraction of unit investment costs at the end of its life. |  | unit_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Discount factor applied to unit costs based on its technology and economic parameters. |  | unit_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of units in which investment has been made. |  | units_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been invested in and are currently operational or available. |  | units_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been temporarily shut down or put in reserve. |  | units_mothballed | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Number or status of units currently operational. |  | units_on | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational costs associated with active units. |  | units_on_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been turned off or decommissioned during the analyzed period. |  | units_shut_down | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been activated or brought online during the analyzed period. |  | units_started_up | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Variable operations and maintenance costs based on usage or output levels. |  | variable_om_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE