## Specifications
Model | parameter's name | type | code | value
General
| Name (opt) | string | name | simple_model
| Start of simulation | date_time | model_start | 2025-01-01
| End of simulation | date_time | model_end | 2050-01-01
| Discount Rate | float | discount_rate | 0.02
| Discount Year of Reference | date_time | discount_year | 2025-01-01
| Ecomomic Representation | bool | use_economic_representation | FALSE
| Milestone Years | bool | use_milestone_years | FALSE
| Base Scenario name | string | NaM_scenario_name | Base
| Multiple Scenarios | bool | NaM_bool_multiple_scenarios | FALSE
| Additionnal Scenario names | strings | NaM_add_scenarios | Scenario1; Scenario2
Operation
| Linear operation | bool | NaM_linear_op | TRUE
| Name (opt) | string | name | operation2025
| Resolution | duration | resolution | 1M
| Multi Specific year operation | bool | NaM_bool_specific_year | FALSE
| Name (opt) | string | name | operations
| Resolution | duration | resolution | 1M
| Specific year to simulate | ints | NaM_specific_year | 2025; 2030; 2034
| Representative days (opt) | bool | NaM_Representative_days | FALSE
Economic - Investments
| Single time | bool | NaM_invstmt_sgl_bool | FALSE
| Name (opt) | string | name | simple_investment
| Occurrence date | date_time | block_start | 2025-01-01
| Multi year | bool | NaM_invstmt_multi_bool | TRUE
| Name (opt) | string | name
| 1st occurrence date | date_time | block_start | 2025-01-01
| Horizon of occurrences | duration | resolution | 5Y
CO2
| CO2 node | bool | NaM_CO2_bool | FALSE
| Maximum total CO2 emissions | kg | node_state_cap
| Maximal emissions (over 1 unit of simulation time) | kg | connection_capacity | 2025=1000000; 2030=100000; 2035=10000; 2040=1000;2050=0

## Commodities
Commodity |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
Name |  | code | Electricity | Gas | Space_Heating | Heating_Oil | Wood | Pellet | Hydrogen | Hot_Water
Allow commodity overflow (lost cost) | bool | NaM_overflow_lost | FALSE | FALSE | TRUE | FALSE | FALSE | FALSE | FALSE | TRUE
Supply node (with an infinite capacity of import/export) | bool | NaM_balance_type | FALSE | TRUE | FALSE | TRUE | TRUE | TRUE | FALSE | FALSE
Connection | 1
Connection's name | string | name | 1: LV_400V
Number of connections | float | number_of_connections | bar: 1
Candidate connections | float | candidate_connections | 1: 0
From node
District level | string | NaM_district_lvl(from_node) | 1: Kreis1
Building level | string | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node) | 1: 1000000
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level | string | NaM_district_lvl(to_node) | 1: Kreis1
Building level | string | NaM_building_lvl(to_node) | 1: All
Capacity | kW | connection_capacity(to_node) | 1: 1000000
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 2
Connection's name |  | name
Number of connections |  | number_of_connections
Candidate connections |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 3
Connection's name |  | name
Number of connections |  | number_of_connections
Candidate connections |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 4
Connection's name |  | name
Number of connections |  | number_of_connections
Candidate connections |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 5
Connection's name |  | name
Number of connections |  | number_of_connections
Candidate connections |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)
Connection | 6
Connection's name |  | name
Number of connections |  | number_of_connections
Candidate connections |  | candidate_connections
From node
District level |  | NaM_district_lvl(from_node)
Building level |  | NaM_building_lvl(from_node)
Capacity | kW | connection_capacity(from_node)
Flow Cost | CHF/kWh | connection_flow_cost(from_node)
To node
District level |  | NaM_district_lvl(to_node)
Building level |  | NaM_building_lvl(to_node)
Capacity | kW | connection_capacity(to_node)
Flow Cost | CHF/kWh | connection_flow_cost(to_node)

## Units
Units |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55 | 56 | 57 | 58 | 59 | 60
General
Name | string | name | 1: Solar rooftop PV 10k; 2: Solar rooftop PV 30k; 3: OpenField PV-panel 1M; 4: Wind Turbine (onshore); 5: Electricity Export; 6: Electricity Import; 7: Heat Pump (ground); 8: Heat Pump (water); 9: Heat Pump (ground-SFH); 10: Heat Pump (air-SFH); 11: Heat Pump (ground-MFH); 12: Heat Pump (air-MFH); 13: Wood Heater (SFH); 14: Wood Heater (MFH); 15: Pellet Heater (SFH); 16: Pellet Heater (MFH); 17: Gas Heater (SFH); 18: Gas Heater (MFH); 19: Oil Heater (SFH); 20: Oil Heater (MFH); 21: PEM Electrolyzer; 22: PEM Fuel Cell; 23: Alcaline Electrolyzer; 24: SOEC Electrolyzer
Input commodity 1 | [] | NaM_unit__from_node1 | 5: Electricity; 7: Electricity; 8: Electricity; 9: Electricity; 10: Electricity; 11: Electricity; 12: Electricity; 13: Wood; 14: Wood; 15: Pellet; 16: Pellet; 17: Gas; 18: Gas; 19: Heating_Oil; 20: Heating_Oil; 21: Electricity; 22: Hydrogen; 23: Electricity; 24: Electricity
Input commodity 2 | [] | NaM_unit__from_node2
Input commodity 3 | [] | NaM_unit__from_node3
Output commodity 1 | [] | NaM_unit__to_node1 | 1: Electricity; 2: Electricity; 3: Electricity; 4: Electricity; 6: Electricity; 7: Space_Heating; 8: Space_Heating; 9: Space_Heating; 10: Space_Heating; 11: Space_Heating; 12: Space_Heating; 13: Space_Heating; 14: Space_Heating; 15: Space_Heating; 16: Space_Heating; 17: Space_Heating; 18: Space_Heating; 19: Space_Heating; 20: Space_Heating; 21: Hydrogen; 22: Electricity; 23: Hydrogen; 24: Hydrogen
Output commodity 2 | [] | NaM_unit__to_node2 | 22: Space_Heating
Output commodity 3 | [] | NaM_unit__to_node3
District / Building scale | [] | NaM_scale | 1: Building level; 2: Building level; 3: District level; 4: District level; 5: District level; 6: District level; 7: District level; 8: District level; 9: Building level; 10: Building level; 11: Building level; 12: Building level; 13: Building level; 14: Building level; 15: Building level; 16: Building level; 17: Building level; 18: Building level; 19: Building level; 20: Building level; 21: District level; 22: District level; 23: District level; 24: District level
CO2 production | [kg CO2 / kWh] | NaM_emission | 1: 0; 2: 0; 3: 0; 4: 0; 5: -0.1; 6: 0.1; 7: 0; 8: 0; 9: 0; 10: 0; 11: 0; 12: 0; 13: 0.367; 14: 0.367; 15: 0.367; 16: 0.367; 17: 0.2; 18: 0.2; 19: 0.266; 20: 0.266; 21: 0; 22: 0; 23: 0; 24: 0
Fixed yearly operation/maintenance costs | CHF/kW/year | NaM_fom_cost_year | 1: 29; 2: 29; 3: 19; 4: 110; 7: 70; 8: 50; 9: 72; 10: 42; 11: 54; 12: 25; 13: 31; 14: 19; 15: 40; 16: 26; 17: 22; 18: 10; 19: 29; 20: 15; 21: 40; 22: 63; 23: 21; 24: 95
Fixed hourly operation/maintenance costs (SpineOpt) | CHF/kW/h | fom_cost | 1: 0.0033105; 2: 0.0033105; 3: 0.0021689; 4: 0.012557; 7: 0.0079909; 8: 0.0057078; 9: 0.0082192; 10: 0.0047945; 11: 0.0061644; 12: 0.0028539; 13: 0.0035388; 14: 0.0021689; 15: 0.0045662; 16: 0.002968; 17: 0.0025114; 18: 0.0011416; 19: 0.0033105; 20: 0.0017123; 21: 0.0045662; 22: 0.0071918; 23: 0.0023973; 24: 0.010845
Investments
Investment Cost per kW | CHF | NaM_unit_investment_cost_per_kW | 1: 2800; 2: 2500; 3: 900; 4: 2300; 7: 700; 8: 500; 9: 7200; 10: 4200; 11: 5400; 12: 2500; 13: 3100; 14: 1900; 15: 4000; 16: 2600; 17: 2200; 18: 1000; 19: 2900; 20: 1500; 21: 1200; 22: 5000; 23: 900; 24: 3000
Investment Cost | CHF | unit_investment_cost | 1: 28000; 2: 75000; 3: 900000; 4: 7590000; 7: 700000; 8: 500000; 9: 122400; 10: 71400; 11: 432000; 12: 200000; 13: 52700; 14: 152000; 15: 68000; 16: 208000; 17: 37400; 18: 80000; 19: 49300; 20: 120000; 21: 120000; 22: 500000; 23: 1800000; 24: 450000
Economic lifetime | duration | unit_investment_econ_lifetime | 1: 20Y; 2: 20Y; 3: 20Y; 4: 20Y; 7: 15Y; 8: 15Y; 9: 15Y; 10: 15Y; 11: 15Y; 12: 15Y; 13: 15Y; 14: 15Y; 15: 15Y; 16: 15Y; 17: 15Y; 18: 15Y; 19: 15Y; 20: 15Y; 21: 15Y; 22: 15Y; 23: 15Y; 24: 15Y
Technical lifetime | duration | unit_investment_tech_lifetime | 1: 20Y; 2: 20Y; 3: 20Y; 4: 20Y; 7: 15Y; 8: 15Y; 9: 15Y; 10: 15Y; 11: 15Y; 12: 15Y; 13: 15Y; 14: 15Y; 15: 15Y; 16: 15Y; 17: 15Y; 18: 15Y; 19: 15Y; 20: 15Y; 21: 15Y; 22: 15Y; 23: 15Y; 24: 15Y
Investment type | [] | NaM_unit_investment_variable_type | 1: Continuous; 2: Continuous; 3: Continuous; 4: Integer; 7: Continuous; 8: Continuous; 9: Continuous; 10: Continuous; 11: Continuous; 12: Continuous; 13: Continuous; 14: Continuous; 15: Continuous; 16: Continuous; 17: Continuous; 18: Continuous; 19: Continuous; 20: Continuous; 21: Continuous; 22: Continuous; 23: Continuous; 24: Continuous
Investment type (SpineOpt) | [] | unit_investment_variable_type | 1: unit_investment_variable_type_continuous; 2: unit_investment_variable_type_continuous; 3: unit_investment_variable_type_continuous; 4: unit_investment_variable_type_integer; 7: unit_investment_variable_type_continuous; 8: unit_investment_variable_type_continuous; 9: unit_investment_variable_type_continuous; 10: unit_investment_variable_type_continuous; 11: unit_investment_variable_type_continuous; 12: unit_investment_variable_type_continuous; 13: unit_investment_variable_type_continuous; 14: unit_investment_variable_type_continuous; 15: unit_investment_variable_type_continuous; 16: unit_investment_variable_type_continuous; 17: unit_investment_variable_type_continuous; 18: unit_investment_variable_type_continuous; 19: unit_investment_variable_type_continuous; 20: unit_investment_variable_type_continuous; 21: unit_investment_variable_type_continuous; 22: unit_investment_variable_type_continuous; 23: unit_investment_variable_type_continuous; 24: unit_investment_variable_type_continuous
Discount rate (technology specific) | rate | unit_discount_rate_technology_specific
Decommissionning cost | CHF | unit_decommissioning_cost
Decommissionning time | duration | unit_decommissioning_time
Lead time | duration | unit_lead_time
Efficiencies (input commodity to output commodity)
Efficiency 1 → 1 | % | fix_ratio_out_in_unit_flow(from_node1to_node1) | 7: 320%; 8: 300%; 9: 360%; 10: 280%; 11: 360%; 12: 280%; 13: 72%; 14: 72%; 15: 90%; 16: 90%; 17: 93%; 18: 93%; 19: 90%; 20: 90%; 21: 60%; 22: 57%; 23: 55%; 24: 79%
Efficiency 1 → 2 | % | fix_ratio_out_in_unit_flow(from_node1to_node2) | 22: 20%
Efficiency 1 → 3 | % | fix_ratio_out_in_unit_flow(from_node1to_node3)
Efficiency 2 → 1 | % | fix_ratio_out_in_unit_flow(from_node2to_node1)
Efficiency 2 → 2 | % | fix_ratio_out_in_unit_flow(from_node2to_node2)
Efficiency 2 → 3 | % | fix_ratio_out_in_unit_flow(from_node2to_node3)
Efficiency 3 → 1 | % | fix_ratio_out_in_unit_flow(from_node3to_node1)
Efficiency 3 → 2 | % | fix_ratio_out_in_unit_flow(from_node3to_node2)
Efficiency 3 → 3 | % | fix_ratio_out_in_unit_flow(from_node3to_node3)
Capacities
Capacity INPUT 1 | kW | unit_capacity(unit__from_node1) | 5: 2000000; 21: 100; 23: 2000; 24: 150
Capacity INPUT 2 | kW | unit_capacity(unit__from_node2)
Capacity INPUT 3 | kW | unit_capacity(unit__from_node3)
Capacity OUTPUT 1 | kW | unit_capacity(unit__to_node1) | 1: 10; 2: 30; 3: 1000; 4: 3300; 6: 2000000; 7: 1000; 8: 1000; 9: 17; 10: 17; 11: 80; 12: 80; 13: 17; 14: 80; 15: 17; 16: 80; 17: 17; 18: 80; 19: 17; 20: 80; 22: 100
Capacity OUTPUT 2 | kW | unit_capacity(unit__to_node2)
Capacity OUTPUT 3 | kW | unit_capacity(unit__to_node3)
Advanced Parameters
Start-up cost | CHF/startup | start_up_cost
Shutdown cost | CHF/shutdown | shut_down_cost
Minimum up time | duration | min_up_time
Minimum down time | duration | min_down_time
Ramping limit (to commodity)
Ramp up limit OUTPUT1 | % / time unit | ramp_up_limit(unit__to_node1)
Ramp down limit OUTPUT1 | % / time unit | ramp_down_limit(unit__to_node1)
Ramp up limit OUTPUT2 | % / time unit | ramp_up_limit(unit__to_node2)
Ramp down limit OUTPUT2 | % / time unit | ramp_down_limit(unit__to_node2)
Ramp up limit OUTPUT3 | % / time unit | ramp_up_limit(unit__to_node3)
Ramp down limit OUTPUT3 | % / time unit | ramp_down_limit(unit__to_node3)
Variable fuel costs | E.g. CHF/kWh - CHF/kg
Variable fuel costs INPUT 1 | CHF/kWh | fuel_cost(unit__from_node1) | 5: -0.19116; 13: 0.10169; 14: 0.10169; 15: 0.092599; 16: 0.092599; 17: 0.1325; 18: 0.1275; 19: 0.095467; 20: 0.095467
Variable fuel costs INPUT 2 | CHF/kWh | fuel_cost(unit__from_node2)
Variable fuel costs INPUT 3 | CHF/kWh | fuel_cost(unit__from_node3)
Variable fuel costs OUTPUT 1 | CHF/kWh | fuel_cost(unit__to_node1) | 6: 0.23895
Variable fuel costs OUTPUT 2 | CHF/kWh | fuel_cost(unit__to_node2)
Variable fuel costs OUTPUT 3 | CHF/kWh | fuel_cost(unit__to_node3)
Maximum cumulated flows from/to a node | e.g max consumption of certain commodity.
Maximal cumulated unit flow from INPUT 1 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node1)
Maximal cumulated unit flow from INPUT 2 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node2)
Maximal cumulated unit flow from INPUT 3 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__from_node3)
Maximal cumulated unit flow to OUTPUT 1 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node1)
Maximal cumulated unit flow to OUTPUT 2 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node2)
Maximal cumulated unit flow to OUTPUT 3 | kWh or kg (unitflow) | max_total_cumulated_unit_flow_to_node(unit__to_node3)
Minimum cumulated flows from/to a node | e.g min consumption of certain commodity.
Minimal cumulated unit flow from INPUT 1 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__from_node1)
Minimal cumulated unit flow from INPUT 2 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__from_node2)
Minimal cumulated unit flow from INPUT 3 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__from_node3)
Minimal cumulated unit flow to OUTPUT 1 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__to_node1)
Minimal cumulated unit flow to OUTPUT 2 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__to_node2)
Minimal cumulated unit flow to OUTPUT 3 | kWh or kg (unitflow) | min_total_cumulated_unit_flow_to_node(unit__to_node3)
Operating points for piecewise-linear `unit` efficiency approximations.
Operating points of INPUT 1 | array | operating_points(unit__from_node1)
Operating points of INPUT 2 | array | operating_points(unit__from_node2)
Operating points of INPUT 3 | array | operating_points(unit__from_node3)
Set lower bound of the `unit_flow` variable.
Minimum unit_flow from INPUT 1 | kW | min_unit_flow(unit__from_node1)
Minimum unit_flow from INPUT 2 | kW | min_unit_flow(unit__from_node2)
Minimum unit_flow from INPUT 3 | kW | min_unit_flow(unit__from_node3)
Minimum unit_flow to OUTPUT 1 | kW | min_unit_flow(unit__to_node1)
Minimum unit_flow to OUTPUT 2 | kW | min_unit_flow(unit__to_node2)
Minimum unit_flow to OUTPUT 3 | kW | min_unit_flow(unit__to_node3)
Variable operating costs of a `unit_flow` variable. | Ex EUR/MWh.
Variable operating costs of INPUT 1 | CHF/kWh | vom_cost(unit__from_node1)
Variable operating costs of INPUT 2 | CHF/kWh | vom_cost(unit__from_node2)
Variable operating costs of INPUT 3 | CHF/kWh | vom_cost(unit__from_node3)
Variable operating costs of OUTPUT 1 | CHF/kWh | vom_cost(unit__to_node1)
Variable operating costs of OUTPUT 2 | CHF/kWh | vom_cost(unit__to_node2)
Variable operating costs of OUTPUT 3 | CHF/kWh | vom_cost(unit__to_node3)
Procurement cost for reserves
reserve_procurement_cost(unit__from_node1)
Maximum ramp-down during shutdowns
Maximum ramp-down of INPUT 1 | % / time unit | shut_down_limit(unit__from_node1)
Maximum ramp-down of INPUT 2 | % / time unit | shut_down_limit(unit__from_node2)
Maximum ramp-down of INPUT 3 | % / time unit | shut_down_limit(unit__from_node3)
Maximum ramp-down of OUTPUT 1 | % / time unit | shut_down_limit(unit__to_node1)
Maximum ramp-down of OUTPUT 2 | % / time unit | shut_down_limit(unit__to_node2)
Maximum ramp-down of OUTPUT 3 | % / time unit | shut_down_limit(unit__to_node3)
Maximum ramp-up during startups
Maximum ramp up of INPUT 1 | % / time unit | start_up_limit(unit__from_node1)
Maximum ramp-up of INPUT 2 | % / time unit | start_up_limit(unit__from_node2)
Maximum ramp-up of INPUT 3 | % / time unit | start_up_limit(unit__from_node3)
Maximum ramp-up of OUTPUT 1 | % / time unit | start_up_limit(unit__to_node1)
Maximum ramp-up of OUTPUT 2 | % / time unit | start_up_limit(unit__to_node2)
Maximum ramp-up of OUTPUT 3 | % / time unit | start_up_limit(unit__to_node3)
Note on H55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Electricity price on 01.01.2025 (without VAT) https://www.propellets.ch/fr/chauffer-aux-pellets/faits-et-chiffres/prix-des-pellets Reply: *0.8 to depreciate the selling of electricity
Note on P55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Depends on local producer (between 5 to 15ct CHF /kWh Reply: https://www.hornbach.ch/fr/p/stere-bois-de-hetre-pour-le-chauffage-1-m-1-srm/10736649/ Reply: 299 CHF/m^3 // 680 kg/m^3 // 4 kWh/kg // VAT
Note on R55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Price of pellet chf/kWh https://www.propellets.ch/fr/chauffer-aux-pellets/faits-et-chiffres/prix-des-pellets
Note on S55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.propellets.ch/fr/chauffer-aux-pellets/faits-et-chiffres/prix-des-pellets
Note on T55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.energie360.ch/media/downloads/Liste-prix-gaz_naturelbio-janvier-2025-Energie360.pdf
Note on U55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.energie360.ch/media/downloads/Liste-prix-gaz_naturelbio-janvier-2025-Energie360.pdf
Note on V55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Price of mazout 10.32 ct CHF/kWh https://www.propellets.ch/fr/chauffer-aux-pellets/faits-et-chiffres/prix-des-pellets
Note on W55: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: https://www.propellets.ch/fr/chauffer-aux-pellets/faits-et-chiffres/prix-des-pellets

## Storages
Storages |  |  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20
General
Name | string | name | 1: Li-ion (60M); 2: Li-ion (250k); 3: Li-ion (5k); 4: Pressurized H2 tank; 5: Salt Cavern
Commodity | [] | NaM_stored_commodity | 1: Electricity; 2: Electricity; 3: Electricity; 4: Hydrogen; 5: Hydrogen
District / Building scale | [] | NaM_scale | 1: District level; 2: District level; 3: Building level; 4: District level; 5: District level
Capacity | kWh | node_state_cap(node) | 1: 60000; 2: 250; 3: 5; 4: 10000; 5: 100000000
Efficiency to storage | % | fix_ratio_out_in_unit_flow(unit__node__storage) | 1: 96.95%; 2: 97.47%; 3: 97.47%; 4: 99.5%; 5: 99.5%
Efficiency from storage | % | fix_ratio_out_in_unit_flow(unit__storage__node) | 1: 96.95%; 2: 97.47%; 3: 97.47%; 4: 99.5%; 5: 99.5%
Self discharge | % / time unit | frac_state_loss(node) | 1: 0%; 2: 0%; 3: 0%; 4: 0%; 5: 100%
Initial storage level | kWh | initial_node_state(node) | 1: 0; 2: 0; 3: 0; 4: 0
Fixed operation/maintenance costs | CHF/kW/h | fom_cost(unit) | 1: 68.4932; 2: 0.57078; 3: 0.014269; 4: 63.0137; 5: 102739.726
Rating power
Capacity INPUT | kW | unit_capacity(unit__from_commodity) | 1: 10000; 2: 125; 3: 2.5; 4: 50; 5: 50
Capacity OUTPUT | kW | unit_capacity(unit__to_commodity) | 1: 10000; 2: 125; 3: 2.5; 4: 50; 5: 50
Investments
Investment Cost | CHF | _investment_cost(unit_or_node) | 1: 24180000; 2: 275000; 3: 6000; 4: 21000000; 5: 40000000000
Economic lifetime | duration | _investment_econ_lifetime(unit_and_node) | 1: 12Y; 2: 12Y; 3: 12Y; 4: 30Y; 5: 30Y
Technical lifetime | duration | _investment_tech_lifetime(unit_and_node) | 1: 12Y; 2: 12Y; 3: 12Y; 4: 30Y; 5: 30Y
Investment type | [] | NaM_investment_variable_type(unit_and_node) | 1: Integer; 2: Integer; 3: Integer; 4: Integer; 5: Continuous
Investment type (SpineOpt) | string_special | _investment_variable_type(unit_and_node) | 1: _investment_variable_type_integer; 2: _investment_variable_type_integer; 3: _investment_variable_type_integer; 4: _investment_variable_type_integer; 5: _investment_variable_type_continuous
Advanced (opt)
Start-up cost | CHF/startup | start_up_cost(unit)
Shutdown cost | CHF/shutdown | shut_down_cost(unit)
Minimum up time | duration | min_up_time(unit)
Minimum down time | duration | min_down_time(unit)
Ramp up limit (INPUT) | % / time unit | ramp_up_limit(unit__from_commodity)
Ramp down limit (INPUT) | % / time unit | ramp_down_limit(unit__from_commodity)
Ramp up limit (OUTPUT) | % / time unit | ramp_up_limit(unit__to_commodity)
Ramp down limit (OUTPUT) | % / time unit | ramp_down_limit(unit__to_commodity)
Discount rate (technology specific) | rate | _discount_rate_technology_specific(unit_and_node)
Decommissionning cost | CHF | _decommissioning_cost(unit_or_node)
Decommissionning time | duration | _decommissioning_time(unit_and_node)
Lead time | duration | _lead_time(unit_and_node)

## Connections
Connections |  |  | 1 | 2 | 3 | 4 | 5
Name | string | name | MV_20kV | DNHeating | HV_200kW | LV_400V | DC_400V | Gas Network
Commodity | string | NaM_indicative | Electricity | Heat | Electricity | Electricity | Electricity | Gas
Type | [] | connection_type | connection_type_lossless_bidirectional | connection_type_normal | connection_type_normal | connection_type_lossless_bidirectional | connection_type_normal | connection_type_lossless_bidirectional
Efficiency | % | fix_ratio_out_in_connection_flow(from_node_to_node) |  | 85% | 95% |  | 95%
Length (not used in the model) | m
Investments
Investment Cost per unit length | CHF/m
Investment Cost | CHF | connection_investment_cost | 15000 | 5000 | 30000 | 1000 | 10000
Economic lifetime | duration | connection_investment_econ_lifetime | 50Y | 20Y | 50Y | 10Y | 10Y
Technical lifetime | duration | connection_investment_tech_lifetime | 50Y | 20Y | 50Y | 10Y | 10Y
Investment type |  |  | Continuous | Integer | Integer | Continuous | Integer
Investment type (SpineOpt) | [] | connection_investment_variable_type | connection_investment_variable_type_continuous | connection_investment_variable_type_integer | connection_investment_variable_type_integer | connection_investment_variable_type_continuous | connection_investment_variable_type_integer
Discount rate (technology specific) | [] | connection_discount_rate_technology_specific
Decommissionning cost | CHF | connection_decommissioning_cost
Decommissionning time | duration | connection_decommissioning_time
Lead time | duration | connection_lead_time

## Districts
| District Number | 1 | [25 empty] | 2 | [25 empty] | 3 | [25 empty] | 4
| Name | Kreis1
|  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12 |  |  |  | 1 |  | 2 |  | 3 |  | 4 |  | 5 |  | 6 |  | 7 |  | 8 |  | 9 |  | 10 |  | 11 |  | 12
| Building types | Global at District Level |  | MFH_until_1970 |  | MFH_1970-1979 |  | MFH_1980-1994 |  | MFH_1995-2004 |  | MFH_2005-2014 |  | MFH_from_2015 |  | SFH_until_1970 |  | SFH_1970-1979 |  | SFH_1980-1994 |  | SFH_1995-2004 |  | SFH_2005-2014 |  | SFH_from_2015 |  | Global at District Level |  | MFH_until_1970 |  | MFH_1970-1979 |  | MFH_1980-1994 |  | MFH_1995-2004 |  | MFH_2005-2014 |  | MFH_from_2015 |  | SFH_until_1970 |  | SFH_1970-1979 |  | SFH_1980-1994 |  | SFH_1995-2004 |  | SFH_2005-2014 |  | SFH_from_2015 |  | Global at District Level |  | MFH_until_1970 |  | MFH_1970-1979 |  | MFH_1980-1994 |  | MFH_1995-2004 |  | MFH_2005-2014 |  | MFH_from_2015 |  | SFH_until_1970 |  | SFH_1970-1979 |  | SFH_1980-1994 |  | SFH_1995-2004 |  | SFH_2005-2014 |  | SFH_from_2015 |  | Global at District Level |  | MFH_until_1970 |  | MFH_1970-1979 |  | MFH_1980-1994 |  | MFH_1995-2004 |  | MFH_2005-2014 |  | MFH_from_2015 |  | SFH_until_1970 |  | SFH_1970-1979 |  | SFH_1980-1994 |  | SFH_1995-2004 |  | SFH_2005-2014 |  | SFH_from_2015
| Quantity of building |  |  | 101 |  | 7 |  | 22 |  | 3 |  | 14 |  | 65 |  | 229 |  | 50 |  | 51 |  | 32 |  | 91 |  | 141
| Units presence (district level) | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1
2
3 | OpenField PV-panel 1M | 0 | 100
4 | Wind Turbine (onshore) | 0 | 5
5 | Electricity Export | 1
6 | Electricity Import | 1
7 | Heat Pump (ground)
8 | Heat Pump (water)
9
10
11
12
13
14
15
16
17
18
19
20
21 | PEM Electrolyzer
22 | PEM Fuel Cell
23 | Alcaline Electrolyzer
24 | SOEC Electrolyzer
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
| Units presence (building level) | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1 | Solar rooftop PV 10k | [14 empty] | 9 | 229 | 3 | 50 | 9 | 51 | 6 | 32 | 20 | 91 | 13 | 141
2 | Solar rooftop PV 30k |  |  | 1 | 101 | 0 | 7 | 2 | 22 | 0 | 3 | 0 | 14 | 0 | 65 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3
4
5
6
7
8
9 | Heat Pump (ground-SFH) | [14 empty] | 1 | 3000 | 3 | 3000 | 0 | 3000 | 0 | 3000 | 1 | 3000 | 1 | 3000
10 | Heat Pump (air-SFH) | [14 empty] | 22 | 3000 | 4 | 3000 | 14 | 3000 | 4 | 3000 | 51 | 3000 | 53 | 3000
11 | Heat Pump (ground-MFH) |  |  | 1 | 3000 | 0 | 3000 | 0 | 3000 | 0 | 3000 | 1 | 3000 | 1 | 3000
12 | Heat Pump (air-MFH) |  |  | 3 | 3000 | 0 | 3000 | 1 | 3000 | 1 | 3000 | 1 | 3000 | 15 | 3000
13 | Wood Heater (SFH) | [14 empty] | 28 | 0 | 0 | 0 | 2 | 0 | 1 | 0 | 0 |  | 11 | 0
14 | Wood Heater (MFH) |  |  | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 1 | 0
15 | Pellet Heater (SFH)
16 | Pellet Heater (MFH)
17 | Gas Heater (SFH) | [14 empty] | 53 | 0 | 1 | 0 | 5 | 0 | 23 | 0 | 25 | 0 | 23 | 0
18 | Gas Heater (MFH) |  |  | 36 | 0 | 3 | 0 | 10 | 0 | 2 | 0 | 6 | 0 | 23 | 0
19 | Oil Heater (SFH) | [14 empty] | 90 | 0 | 39 | 0 | 19 | 0 | 3 | 0 | 0 | 0 | 37 | 0
20 | Oil Heater (MFH) |  |  | 48 | 0 | 3 | 0 | 10 | 0 | 0 | 0 | 2 | 0 | 21 | 0
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
| Storages presence (district level) | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units (NoU) | Candidate units (CU) | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1 | Li-ion (60M) | 2 | 10
2 | Li-ion (250k) | 2 | 10
3
4 | Pressurized H2 tank
5 | Salt Cavern
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
| Storages presence (building level) | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | Number of units | Candidate units | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA | NoU | CA
1
2
3 | Li-ion (5k) |  |  | 0 | 1000 | 0 | 70 | 0 | 220 | 0 | 30 | 0 | 140 | 0 | 650 | 0 | 1000 | 0 | 200 | 0 | 200 | 0 | 120 | 0 | 360 | 0 | 600
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60

## Building types
Building | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
name | MFH_until_1970 | MFH_1970-1979 | MFH_1980-1994 | MFH_1995-2004 | MFH_2005-2014 | MFH_from_2015 | SFH_until_1970 | SFH_1970-1979 | SFH_1980-1994 | SFH_1995-2004 | SFH_2005-2014 | SFH_from_2015
type | Multi Families | Multi Families | Multi Families | Multi Families | Multi Families | Multi Families | Single Family | Single Family | Single Family | Single Family | Single Family | Single Family
date of construction
Retrofits
Name | Window | Window | Window | Window | Window |  | Window | Window | Window | Window | Window
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating |  | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 32.8% | 44.9% | 44.8% | 44.7% | 44.7% |  | 29.2% | 39.2% | 41.3% | 43.5% | 43.5%
Price for 1 building [CHF] | 118000 | 213512 | 237730 | 581166 | 410404 |  | 55226 | 60326 | 85607 | 114799 | 78132
Name | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall |  | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating |  | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 69.7% | 68.3% | 60.4% | 52.6% | 52.6% |  | 68.3% | 64.1% | 57.5% | 50.9% | 50.9%
Price for 1 building [CHF] | 323000 | 440156 | 472633 | 1038492 | 733355 |  | 161099 | 140287 | 183813 | 215233 | 146487
Name | Full | Full | Full | Full | Full |  | Full | Full | Full | Full | Full
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating |  | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 80.1% | 78.6% | 68.6% | 58.6% | 58.6% |  | 79.4% | 76.2% | 66.7% | 57.3% | 57.3%
Price for 1 building [CHF] | 598000 | 730958 | 799388 | 1743090 | 1230923 |  | 292944 | 245390 | 320452 | 366871 | 249692

## Sheet1
Name | Window | Window | Window | Window | Window | Window | Window | Window | Window | Window
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 32.8% | 44.9% | 44.8% | 44.7% | 44.7% | 29.2% | 39.2% | 41.3% | 43.5% | 43.5%
Price for 1 building [CHF] | 118000 | 213512 | 237730 | 581166 | 410404 | 55226 | 60326 | 85607 | 114799 | 78132
Name | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall | Window_Wall
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 69.7% | 68.3% | 60.4% | 52.6% | 52.6% | 68.3% | 64.1% | 57.5% | 50.9% | 50.9%
Price for 1 building [CHF] | 323000 | 440156 | 472633 | 1038492 | 733355 | 161099 | 140287 | 183813 | 215233 | 146487
Name | Full | Full | Full | Full | Full | Full | Full | Full | Full | Full
Commodity | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating | Space_Heating
Decrease in consumption [%] | 80.1% | 78.6% | 68.6% | 58.6% | 58.6% | 79.4% | 76.2% | 66.7% | 57.3% | 57.3%
Price for 1 building [CHF] | 598000 | 730958 | 799388 | 1743090 | 1230923 | 292944 | 245390 | 320452 | 366871 | 249692

## Temporality (hidden)
Representative Days
| parameter's name | type | code | value
Temporal Block 1
| Name (opt) | string | name | operation_january
| Resolution | duration | resolution | 1h
| Start | datetime | block_start | 2025-01-21
| End | datetime | block_end | 2025-01-28
| Occurrence (every year, month) (opt) | duration | NaM_occ | 1Y
Temporal Block 2
| Name (opt) | string | name | operation_february
| Resolution | duration | resolution | 10m
| Start | datetime | block_start | 2025-02-22
| End | datetime | block_end | 2025-02-23
| Occurrence (every year, month) (opt) | duration | NaM_occ | 2Y
Temporal Block 3
| Name (opt) | string | name | operation2025_june
| Resolution | duration | resolution | 1h
| Start | datetime | block_start | 2025-06-01
| End | datetime | block_end | 2025-06-30
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 4
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 5
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 6
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 7
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 8
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 9
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 10
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 11
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 12
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 13
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 14
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 15
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 16
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 17
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 18
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 19
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 20
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 21
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 22
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 23
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 24
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 25
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 26
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 27
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 28
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 29
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 30
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 31
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 32
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 33
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 34
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 35
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 36
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 37
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 38
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 39
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 40
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 41
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 42
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 43
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 44
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 45
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 46
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 47
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 48
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 49
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 50
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 51
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 52
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 53
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 54
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 55
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 56
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 57
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 58
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 59
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 60
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 61
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ
Temporal Block 62
| Name (opt) | string | name
| Resolution | duration | resolution
| Start | datetime | block_start
| End | datetime | block_end
| Occurrence (every year, month) (opt) | duration | NaM_occ

## Reports
Name | Description | code | Report_1
Indicates if a gas connection is active or not in binary form (1 = active, 0 = inactive). |  | binary_gas_connection_flow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Average gas or resource flow through a connection during periods when it is operational. |  | connection_avg_intact_throughflow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Average flow across a connection over a defined period, including all time intervals. |  | connection_avg_throughflow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts the total investment cost of a connection to a discounted annuity value based on a defined discount factor. |  | connection_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The duration of a connection's operation, adjusted for discounting over time. |  | connection_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total flow through a connection in a given time period. |  | connection_flow | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with the flow of resources through the connection, including operational costs. |  | connection_flow_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Flow through the connection during periods when it is fully intact and operational. |  | connection_intact_flow | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Initial capital costs incurred for investing in the connection. |  | connection_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Fraction of the connection’s investment cost that can be recovered at the end of its lifecycle. |  | connection_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The discount factor applied to a connection's costs based on its technology and economic parameters. |  | connection_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Number or status of connections that have been removed or retired from operation. |  | connections_decommissioned | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of connections where capital investment has been made. |  | connections_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The count of connections that have been invested in and are available for use. |  | connections_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Indicates whether a specific contingency constraint is binding (active) in the optimization. |  | contingency_is_binding | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Fixed operations and maintenance costs for connections, units, or storage. |  | fixed_om_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total costs incurred for fuel usage across units or facilities. |  | fuel_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The objective value under the Model-Guided Adaptive (MGA) optimization approach. |  | mga_objective | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The minimum lower bound for the optimization problem’s objective value in the master problem. |  | mp_objective_lowerbound | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Amount of resource (e.g., electricity or gas) injected into a node within the system. |  | node_injection | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Pressure level at a specific node, relevant in gas network modeling. |  | node_pressure | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Negative slack variable at a node, representing deficits in meeting constraints. |  | node_slack_neg | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Positive slack variable at a node, representing excesses beyond constraints. |  | node_slack_pos | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational state of a node in the system (e.g., active, inactive). |  | node_state | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The voltage angle at a node in a power network. |  | node_voltage_angle | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Non-spinning reserve units that have been shut down during the analyzed period. |  | nonspin_units_shut_down | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Non-spinning reserve units that have been started up during the analyzed period. |  | nonspin_units_started_up | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Penalties applied to the optimization objective for violating specific constraints or objectives. |  | objective_penalties | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
The relative gap between the current solution and the optimal solution in percentage terms. |  | relative_optimality_gap | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with curtailing renewable energy production. |  | renewable_curtailment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs associated with resource processing or procurement. |  | res_proc_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs incurred from shutting down units or processes. |  | shut_down_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Costs incurred to start up units or processes. |  | start_up_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts total storage investment cost to a discounted annuity value. |  | storage_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational duration of storage, adjusted for discounting over time. |  | storage_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Capital investment costs for storage infrastructure. |  | storage_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Recoverable fraction of storage investment costs at the end of its life. |  | storage_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Discount factor applied to storage costs based on its technology. |  | storage_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Count or status of storage facilities that have been retired. |  | storages_decommissioned | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of storage facilities with completed investments. |  | storages_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Storage facilities that are both invested in and currently available for use. |  | storages_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Tax costs applied to operations or investments. |  | taxes | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Sum of all costs, including operational, investment, and penalties, in the system. |  | total_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Converts total unit investment cost to a discounted annuity value. |  | unit_conversion_to_discounted_annuities | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational duration of a unit, adjusted for discounting over time. |  | unit_discounted_duration | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total resource flow through a unit over a given period. |  | unit_flow | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Resource flow through a unit during operational hours. |  | unit_flow_op | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Resource flow through active units during their operational periods. |  | unit_flow_op_active | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Capital investment costs incurred for units. |  | unit_investment_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Recoverable fraction of unit investment costs at the end of its life. |  | unit_salvage_fraction | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Discount factor applied to unit costs based on its technology and economic parameters. |  | unit_tech_discount_factor | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Total number of units in which investment has been made. |  | units_invested | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been invested in and are currently operational or available. |  | units_invested_available | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been temporarily shut down or put in reserve. |  | units_mothballed | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Number or status of units currently operational. |  | units_on | TRUE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Operational costs associated with active units. |  | units_on_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been turned off or decommissioned during the analyzed period. |  | units_shut_down | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Units that have been activated or brought online during the analyzed period. |  | units_started_up | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
Variable operations and maintenance costs based on usage or output levels. |  | variable_om_costs | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE